## Trolley
TROLLEY PARTS
| Manuf Part | Digikey Part | Trolley Need | Have | Price (ea) | Cost (trolley) | Next purchase | Next Cost | Later purch | Later Cost
Digikey
Compass | HMR3300 | 342-1032-ND | 1 | 3 | 385 | 385 | 0 | 0 | 0 | 0
Box |  | 377-1126-ND | 1 | 2 | 19.2 | 19.2 | 0 | 0
DC-DC |  | 393-1020-ND | 1 | 2 | 43.6 | 43.6 | 0
Serial | MAX3111 | MAX3111EEWI-ND | 4 | 9 | 16.62 | 66.48 | 0
MicroProcessor |  | PIC18LF252-I/SO-ND | 1 | 3 | 9.25 | 9.25 | 0
OpticalSensor | OPB716 | 365-1013-ND | 2 | 4 | 8.83 | 17.66 | 0 | 0
+3.3reg | 78M33CDCYR | 296-13424-1-ND | 1 | 10 | 0.56 | 0.56 | 0
+5reg | 78M05CDCYR | 296-12290-1-ND | 1 | 10 | 0.56 | 0.56 | 0
+6reg |  | ZR78L06GCT-ND | 1 | 3 | 1.61 | 1.61 | 0 | 0
Cap |  | P6942-ND | 2 | 4 | 6.85 | 13.7 | 0 | 0
20MHz Osc |  | 535-9259-1-ND | 1 | 3 | 3.75 | 3.75 | 0
3.68MHz Osc |  | 535-9268-1-ND | 1 | 3 | 3.75 | 3.75 | 0
Relay | CrydomCMX60D10 | CC1125-ND | 1 | 2 | 32.36 | 32.36 | 1
CoinBattery |  | P025-ND | 1 | 2 | 2.25 | 2.25 | 2
Maxim
Level Trans | MAX3390EE |  | 1 | 4 | 0 | 0 | 0
Current Monitor | MAX4080 |  | 1 | 3 | 0 | 0 | 0
Sensolution
T/RH | SHT75 |  | 1 | 2 | 24.2 | 24.2 | 0 |  |  |  | Stolen
Samtec
GPS conn | CLP-104-2 |  | 1 | 3 | 0 | 0 | 0
WIT conn | CLP-108-2 |  | 1 | 3 | 0 | 0 | 0 | 0
Cirronet
Rfmodem | WIT2410 |  | 1 | 2 | 395 | 395 | 0
Antenna | RWA2495 |  | 1 | 2 | 8 | 8 | 0 |  |  |  | Price Guess
Cable | CBLRF45 |  | 1 | 1 | 33 | 33 | 1 | 33 |  |  | Price Guess
Trimble
GPS | LassenSQ |  | 1 | 2 | 94.6 | 94.6 | 0 |  |  |  | Price Guess
Antenna | Ultra-Compact Emb |  | 1 | 2 | 38 | 38 | 0 |  |  |  | Price Guess
KNF
Pump | NMP 05DC-M |  | 1 | 2 | 116 | 116 | 0 |  | 1 | 116 | Spare
RMT
CO2 analyzer | DX6110 |  | 1 | 1 | 1200 | 1200 |  |  | 1 | 1200
Reliance Electric
Motor | E242 |  | 1 | 2 | 229 | 229 | 0 |  | 1
[6 empty] | 2737.53 |  | 33 |  | 1316

## TOWER
TOWER PARTS | [6 empty] | McMaster
Number of towers |  | 12 | Have | Need | Surplus
10' Rohn sections |  |  | 41 | 24 | 17
Base plates |  |  | 20 | 12 | 8
Turns |  |  |  | 22
Cables |  |  |  | 44
T-bars |  |  |  | 22 | -22 | Build
Noses |  |  |  | 44 | -44 | Build
Attach plate |  |  |  | 22
U-bolts 2” |  |  | 110 | 110 | 0 | Order | 3042t32 | 253
U-Bolts 1” |  |  | 100 | 88 | 12 | Order | 3043T15 | 59.7 | WRONG! Use Fastenal #42001 (1/4x3/4 pipe) @$63.6/100
U-Bolt nuts | Flange nuts | [5 empty] | 1/4” McMaster
Support wire |  |  |  | 154 | -154 | CASES99 guy wire
Power wire |  |  | 500 | 154 | 346 | New spool
Guy wire |  |  |  | A bunch | 0 | Scraps
Guy wire
| Strap (3' or 6') |  | 74 | 36 | 38 |  |  |  | Could replace these 3 items with:
| Big Triangle split link |  | 40 | 36 | 4 |  | 3709t23 | 114.4 | 10' ratchet strap:talcoT-R2710SE-SH | 36 | 282.6
| Turnbuckle-eye/eye |  | 40 | 36 | 4 | Order | 2999t52 | 545.6
| Small saddles |  | - | 72
| Nicopress 1/8 |  | - | 72
| Thimble |  | 0 | 36 | -36 | Steal from Kurt
top/middle/bottom guys
| Eyebolt |  | 0 | 48 | -48 | Order | 9489t21 | 17.6 | Using scaffolding tower clamps – DON'T NEED!
| Turnbuckle-eye/hook |  | 50 | 48 | 2 | Order | 30125t502 | 85.95
| Small split link |  | 13 | 48 | -35 | Order | 3711t21 | 187
| Small saddles |  | - | 48
| Nicopress 1/8 |  | - | 48
Cables attach
| Ratchet strap |  | 40 | 44 | -4 | Talco | T-R2706SH | 59.2
| Big saddles |  | 97 | 88 | 9 | Order | 3465t13 | 234
| Small Triangle split link |  | 50 | 44 | 6 |  | 3709t22 | 120.5
| 18” strap |  | 22 | 22 | 0 | Talco | T-MS1x1-18HBS | 11.25
| Small saddles |  | - | 44
| Big split link |  | 25 | 22 | 3 | Order? | 8947t16 | 18
Duplicates above:
| Small saddles |  | 192 | 164 | 28
| Nicopress 1/8 |  | 117 | 120 | -3 | Steal from Kurt
Total | [7 empty] | 1706.2
Misc hardware needed to finish (11/06):
| Mid-turn support |  | 1/4-20x1” | With nut/2washer/lockwasher
| Power mid-turn |  | 6-32x5/8”q2 | With nut/2washer/lockwasher
| 2” alum tube stub |  | Q2
| 1/4” copper tube stub |  | Q2
Turn construction requires big wrenches (allen for clamps; 9/16” for big u-bolts; 3/4”? for nose pitch;