APPENDIX B.5

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 		____DC3_________		Installation Period:	Mar 6 – Apr 30 2012

Aircraft: 		____GV _________		Beginning Date: 	__8 May_ 2012_____

Instrument Number:	_________________		Ending Date: 		__30 June 2012_____

1. 	Instrument: 		______HARP_______________________________

2.	Function: 		______Atmospheric Radiation Measurements____________

3.	Principal Investigator:	______Samuel Hall___________________________________

Address: 		NCAR FL0 Room 3560, 3090 Center Green Dr., Boulder, CO, 80301

Telephone: 		____303-497-1899____________________________

4. 	Instrument Operator(s):  Samuel Hall, Kirk Ullmann

5.	Is this instrument commercially produced? 	___No___________________________

6.	If so, please list name and address of manufacturer:

7. 	Please list serial number of the instrument:

___________N/A________________________________________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by: 	NCAR

Organization:         NCAR __________________________________

Address: 		_________________________________________________

Telephone: 		________________________________________________

Built by: 	            NCAR____________

Organization:         NCAR________________________________________________

Address: 	            _________________________________________________

###### APPENDIX B.5

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

Passive light collections.  Hazard during purge (high pressure N2 cylinder) and eye hazard during calibrations (250 W lamp).

10. 	If the instrument is commercially produced, has it been modified? 	___________

11. 	If modified, describe the modification.

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials		______	Compressed gases		___x___

Other ionizing radiation	______	Non-ionizing radiation	______

Flammable liquids		___x___	Laser				______

Radar				______	Flammable gases		______

Explosive materials		______	Toxic materials		______

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.).   N2 for purging, Ethanol to clean optics

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board?

###### APPENDIX B.5

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	 What and how much extra materials will you need to carry?

17. 	What kind of container will you need to carry these materials?

________________________________________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I     II     III     IV

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

______please attached a separate document covering this question__________________

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

_____________________2000 PSI___________________________

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

_______________________No______________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

Ultraviolet/Visible radiation hazard from 250 W lamp during calibrations.  Lamp is covered during all operations but may be visible during filter changes

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

Very low

###### APPENDIX B.5

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

Low severity

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

Save practices for cylinder handling and maintaining cover over lamp operations

___4/11/12________		________________________________________________

Date				  Signature of principal investigator or operator

_______Samuel Hall_____________________________

Printed name of principal investigator or operator

________________________________________________

Reviewed by

________________________________________________

Date